## Slide 1: DATA: ACCURACY AND UNCERTAINTY
Accuracy: how close the measurement is to the true value of the quantity being measured
Uncertainty: the dispersion of values that could be reasonably associated with the true quantity being measured
typically estimated based on the uncertainty of the random and systematic errors

## Slide 2: DATA: NOISE
A measurement = signal (relevant) + noise (not relevant)
Sources of noise:
  Observation not collected at right time or place (tied to observational error)
  Small-scale or short-time-period “irregularities”
Later in this class: smoothing data to reduce noise

## Slide 3: DATA: ERRORS IN “COLLECTION”
Systematic error: often also known as bias; predictable skew of data away from the true values
Examples of Sources:
  measuring instrument hasn’t been properly calibrated or adjusted (obs)
  environmental or site-specific effects (obs)
  model parameterizations don’t sufficiently capture physical processes (model)
Source: World Meteorological Organization Guidelines

## Slide 4: DATA: ERRORS IN “COLLECTION”
Random error: unpredictable temporal or spatial variations
Examples of Sources:
  fluctuations in the measurements made by the instrument – e.g., from electric changes (obs)
  under-resolved high frequency or small-scale phenomena (model)
Source: World Meteorological Organization Guidelines

## Slide 5: DATA: ERRORS IN PROCESSING
Examples:
data not logged correctly
mistakes in (pre-)processing algorithm
TL;DR: ALWAYS, ALWAYS, ALWAYS DO BASIC CHECKS ON A NEW DATASET YOU NEED TO USE, NO MATTER HOW “WELL” YOU THINK IT WAS COLLECTED AND PROCESSED.